Fifty years of ozonesonde measurements at Uccle: history
The early years
Dirk De Muer
Thanks to Roeland Van Malderen
for the initiative to organize this event

---
Prof. Jacques Van Mieghem (director of RMI from 1962 to 1970)
initiated the ozone soundings at RMI.
First tests in 1968 (not well documented).
Initially ozone soundings were not done from a concern of a possible human influence on the ozone layer, but to use ozone as a tracer
to study the general air circulation.
But already in 1969 the main objective of the ozone soundings changed when the first studies were published about a possible influence of supersonic transport (SST) on the ozone layer.
Prof. Jacques Van Mieghem

---
During the first years Brewer-Mast (BM) electrochemical ozone sondes were used.
In 1997 switchover to electrochemical
concentration cell (ECC) ozone sondes
for a number of reasons,
after an extended period of dual soundings
(see presentation of Hugo De Backer).
Brewer- Mast ozonesonde
[Speaker Notes: Before I arrived at RMI there were a few tests with the so-called Regener optical ozone sonde that used optical UV filters and photocells. But as far as I know these soundings were not very successful. Then in 1968 the first soundings with the well-known Brewer-Mast electrochemical ozonesondes started. This is the ozone sensor itself. It is a so-called bubbler that contains a solution of potassium iodide through which the ambient air is pumped. Every ozone molecule that is pumped though the solution gives rise to a current of 1 electron. The sonde is packed in a styrofoam box of about 30 cm intended for reasons of thermal insulation. I thought that this was a nice photo of the BM sonde but then I noticed that it is simply not complete. In this small cavity the box with the electronics is missing.]

---
From the start, three soundings
per week were conducted
( on Monday, Wednesday, Friday).
Gap in the time series of ozone soundings in 1983 and 1984
due to financing problems.
Monthly means of ozone partial pressure
in the free troposphere and in the boundary layer

---
Ozone sounding before (left)
and after (right) deconvolution
of the ozone profile
for both the ascent (solid line) and descent (dashed line) of the sonde.
Data during the descent of the sonde were also recorded.
Ascent and descent ozone profiles are shifted with respect to each other,
due to the response time of the ozone sensor (profiles on the left side).
By using an extended frequency response study of the combined sensor and air-sampling system
the ozone profiles could be corrected for the response time (JGR, Vol. 89, pp. 1361-1372, 1984).
Even after this correction, ascent ozone data were lower than descent data in the troposphere. Reason:
contamination of the air-sampling system and ozone sensor by SO2 in the boundary layer at the ascent.

---
Before the 90´s, SO2 concentrations
in the boundary layer at Uccle were very high.
That had a significant effect on both
- total ozone measurements with Dobson and Brewer spectrophotometers (due to optical causes)
- and ozone soundings (due to chemical causes).
(see	JGR Vol. 97, pp. 5921-5937, 1992
SPIE Vol. 2047, pp. 18-24, 1993)
SO2 concentrations in all industrialized countries were comparable to the Belgian data.
And even in rural areas the concentrations were at least half of the values in suburban areas.
Therefore it had probably an effect to some degree on all ozone stations in industrialized countries.
Variation of annual mean values of SO2 at Uccle
[Speaker Notes: One of the main problems that we experienced during the sixties and seventies is very well illustrated in this figure. It shows the results of measurements of SO2 concentrations here in Uccle during that period. You see a tremendous decrease here. The SO2 concentrations nowadays are about 2 orders of magnitude lower than 50 years ago. In the 60´s and the 70´s the SO2 pollution was a worldwide problem in industrialized areas all over the world. Besides the ozone soundings we did also measurements of total ozone amount in the atmosphere by means of ozone spectrophotometers. The measurements of those instruments are affected by SO2 because SO2 has absorption bands in the UV the overlap with the absorption bands of ozone. But the SO2 in the air interferes also the soundings for 2 reasons. First SO2 contaminates the electrochemical sensor and second the integrated ozone amount of the soundings is normalized with respect to the spectrophotometer data. Therefore from the beginning on we paid a lot of attention to this and other possible sources of error in our soundings in order to preserve the best possible quality. It is clear that this is even more important in long time series that you want to use for a trend analysis, because you want to be sure that the measurements today can be compared with the measurements of 50 years ago. Therefore, the question of SO2 interference not only on our total ozone data but also on the ozone soundings, was studied in detail. When we published the results of SO2 pollution on our ozone data it was often suggested that this had no measurable effect at other ozone stations. But I have always been convinced that is not correct. When you look around in the area here, you will notice that it is a suburb with no industry or heavy traffic in the surroundings. And in addition it is a well documented fact that in industrialized countries the SO2 density in rural areas has always been at least 60 percent of the density in suburban areas.]

---
Also the standard correction for decreasing pump efficiency at decreasing ambient pressures turned out to be in error (was largely underestimated and had changed in time).
With no correction for SO2 and with the standard pump efficiencies, the ozone values showed
- very high pos. trends in the troposphere
- large neg. trends in the middle stratosphere.
But with both corrections applied, the trends were more realistic.

---
Other scientific research on ozone soundings,
besides instrumental research and trend studies
- Meridional transport of ozone by transient eddies.
- Vertical ozone distribution during the passage of a polar front.
- Supporting data for studies of stratospheric aerosols
(cooperation with BIRA/IASB).
- Validation of satellite ozone profiles
in cooperation with various other research groups.
- Meteorological bias in lidar ozone data
in cooperation with RIVM.
- Climatology of tropopause folds at midlatitudes
in cooperation with CNRS.
- Contribution to various national and international scientific projects.
- Photochemical ozone production in the convective mixed layer
studied with a tethered balloon sounding system (see picture).
This study was aimed at quantifying the photochemical ozone production in the convective mixed layer (up to 1200 m) during episodes of
hot and sunny weather (JGR, Vol. 102, pp. 15933-15947, 1997).
Tethered balloon sounding system

---
In the mid 90´s: switchover at Uccle
from BM to ECC ozone sondes
Besides instrumental problems with BM sondes
there was another reason for this decision:
the puzzling results of three WMO ozone sonde intercomparisons (in 1970, 1978, 1991)
with different types of ozone sondes:
BM, ECC, Japanese, Indian, GDR.
Mean ozone amounts measured in the troposphere:
- In 1970: BM much smaller than all other types.
- In 1978: BM still smaller but less pronounced.
- In 1991: BM much larger than all other types.
Cause of this change over the years?
Ratio of mean ozone amounts in the troposphere
measured with BM sondes / other types of ozone sondes
at three WMO Ozone sonde intercomparisons
[Speaker Notes: This is the last figure that I will show. In 1997 we switched to another type of electrochemical ozone sondes (the so-called ECC sondes) and Hugo De Backer who did an excellent job during the whole intercomparison period to prepare the transition, will certainly tell you more about it. This figure tells you something about our motivation for that switch to ECC sondes. It shows results that can be deduced from 3 ozone sonde intercomparisons organized by WMO, in 1970, 1978 and 1991. We calculated the ratio of the mean partial pressures measured by the Brewer Mast ozone sonde and the other types of ozone sondes. What you see here is that in 1970 the mean ozone values measured by the Brewer Mast sonde in the troposphere is systematically lower than the mean values measured by all the other types of ozone sondes. In 1978 that was still the case but the differences were much less pronounced. But in 1991 it appeared that the situation was reversed. We see that the BM sondes measured higher values than all the other types of ozone sondes. I am still surprised that as far as I know, the reasons for that peculiar behavior were never studied in detail. Although it is obvious that these results are highly relevant for long term ozone trends. If somebody in the audience who is familiar with ozone sondes has an explanation for that I would be very curious to hear about it. Thank you.]